## YOUR LOCATION
CATCHMENT-TO-CANOPY AREA RATIO SPREADSHEET TO HELP YOU ESTIMATE RAINWATER HARVESTING POTENTIAL IN YOUR LOCATION | [14 empty] | INSTRUCTIONS: THE CHARTS BELOW ARE GENERATED AUTOMATICALLY FROM THE DATA YOU ENTER IN THE YELLOW CELLS. YOU CAN CHANGE CHART COLORS, SIZES, FONTS AND OTHER ELEMENTS USING THE CHARTING CAPABILITIES OF EXCEL. TO TRANSFER THESE CHARTS TO A POWERPOINT PRESENTATION: 1) COPY ONE CHART AT A TIME AND PASTE IT INTO A MICROSOFT WORD FILE. 2) SAVE THE WORD FILE AS A PDF. 3) OPEN THE PAGE IN POWERPOINT WHERE YOU WANT THE CHART TO APPEAR. 4) IN POWER POINT USE THE INSERT/PHOTO/PICTURE COMMAND, AND SELECT THE DESIRED PDF FILE. 5) THE CHART WILL APPEAR ON THE POWERPOINT PAGE WITH A LOT OF EXTRA WHITE "SPACE" AROUND IT. 6) "CROP" THE EXTRA WHITE SPACE AWAY SO ONLY THE CHART IS PRESENT. 7) SIZE IT AS DESIRED ON THE POWERPOINT PAGE.
INSTRUCTIONS: ENTER YOUR LOCAL DATA PER THE INSTRUCTIONS PROVIDED IN COLUMN A. IMPORTANT: ENTER DATA IN THE YELLOW CELLS ONLY, DO NOT CHANGE ANYTHING IN THE WHITE CELLS. THE WHITE CELLS CONTAIN EQUATIONS THAT AUTOMATICALLY CALCULATE YOUR RESULTS BASED ON THE DATA YOU HAVE ENTERED IN THE YELLOW CELLS. SEE THE "EXAMPLE for Tucson" worksheet to see how the spreadsheet and charts looks when data is pasted into the yellow cells.
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
YOU ENTER IN CELLS C7 TO N7: Average Monthly Rainfall (inches) for your area (see Worksheet tab named "PPT & Eto data for SW cities" for data for some SW cities). Type in your location in CELL B7, replacing the red text. | Average monthly rainfall (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
YOU ENTER IN CELL B8: Type in your location. YOU ENTER IN CELL C8: a percent reduction (enter it as a decimal) in monthly rainfall to address localized variability, climate impacts, high and low rainfall events, etc. for use in water harvesting calculation. We recommend a reduction of 0.50 or more. CELLS D8 TO N8 get the number automatically | Reduction in average rainfall (Inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Sum
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
YOU ENTER IN CELL B10: Type in your location. CELLS C10 TO N10 AUTOMATICALLY CALCULATE: Effective monthly rainfall for water harvesting purposes, adjusted by the percent reduction you entered on line 8. | Effective monthly rainfall for water harvesting (Inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
YOU ENTER IN CELL B12: Type in your location. YOU ENTER IN CELLS C12 TO N12, : Average monthly reference Eto (see Worksheet tab named "PPT & Eto data for SW cities" for some available data). | Average monthly reference Eto (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
YOU ENTER IN CELL B13:Type in your location. YOU ENTER IN CELL C13 : a plant coefficient for low-water use plants for your area. If one is not available for your area, assume 0.25 to 0.30 to approximate a value for low water use plants. CELLS D13 TO N13 repeat the number automatically. | Plant water use coefficient, YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | No Sum
YOU ENTER IN CELL B14: Type in your location. CELLS C14 TO N14 AUTHOMATICALLY CALCULATE: Average monthly plant water demand. | Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
CELL B16 AUTOMATICALLY gets your location. CELLS C16 TO N16 AUTOMATICALLY CALCULATE: Effective monthly rainwater for water harvesting purposes | Effective monthly rainfall for water harvesting (Inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CELL B17 AUTOMATICALLY gets your lcoation. CELLS C17 TO N17 AUTOMATICALLY CALCULATE: Low water use plant demand | Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INSTRUCTIONS: THE CELLS BELOW AUTOMATICALLY CALCULATE A RANGE OF CANOPY-TO-CATCHMENT AREA RATIOS FOR YOUR LOCATION BASED ON DATA ENTERED ABOVE: See the green highlighted cells in COLUMNS O & P, and the table and chart that start in cell U21, to see the range and catchment ratios and resulting months when plant-water demand could be met. To optimize the area of plants you can support using harvested rainwater, select a catchment-to-canopy area ratio that meets low-water use plant water multiple months of the year, while getting the canopy area you need to provide shade and cooling. All water harvesting efforts will provide a range of benefits, including stormwater management. NOTE that all locations will require supplemental irrigation to establish new plants and to support plants in months when harvested rainwater does not meet plant water demand. To prevent supplemental irrigation when rain has already met plant-water demand, Irrigation timers should be adjusted manually, or should be controlled using weather-station linked controllers or soil moisture sensors. | [15 empty] | THE TABLE AND GRAPH BELOW SHOW SUMMARIES OF CATCHMENT-TO CANOPY-AREA RATIOS THAT COULD BE USED FOR YOUR LOCATION. SELECT YOUR PREFERRED RATIO BASED ON LOCAL TRADOFFS BETWEEN NEEDS FOR POTABLE WATER SAVINGS, SHADE, STORMWATER MANAGEMENT, AND OTHER LOCAL FACTORS.
Catchment-to-canopy area ratio of 2:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 2:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 2:1 RATIO | CATCHMENT RATIO | 2:1 | 3:1 | 4:1 | 5:1 | 6:1 | 7:1 | 8:1 | 9:1 | 10:1
| Months exceeding plant water demand at 2:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 2:1 RATIO | NUMBER OF MONTHS THAT DEMAND IS MET AT DIFFERENT CATCHMENT RATIOS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Catchment-to-canopy area ratio of 3:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total |  | TOTAL HARVESTED RAINFALL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 3:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 3:1 RATIO
| Months exceeding plant water demand at 3:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 3:1 RATIO
Catchment-to-canopy area ratio of 4:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 4:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 4:1 RATIO
| Months exceeding plant water demand at 4:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 4:1 RATIO
Catchment-to-canopy area ratio of 5:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 5:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 5:1 RATIO
| Months exceeding plant water demand at 5:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 5:1 RATIO
Catchment-to-canopy area ratio of 6:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 6:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 6:1 RATIO
| Months exceeding plant water demand at 6:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 6:1 RATIO
Catchment-to-canopy area ratio of 7:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 7:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 7:1 RATIO
| Months exceeding plant water demand at 7:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 7:1 RATIO
Catchment-to-canopy area ratio of 8:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 8:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 8:1 RATIO
| Months exceeding plant water demand at 8:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 8:1 RATIO
Catchment-to-canopy area ratio of 9:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 9:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 9:1 RATIO
| Months exceeding plant water demand at 9:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 9:1 RATIO
Catchment-to-canopy area ratio of 10:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), YOUR LOCATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catchment-to-canopy area ratio of 10:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL HARVESTED RAINFALL AT 10:1 RATIO
| Months exceeding plant water demand at 10:1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 10:1 RATIO

## EXAMPLE for Tucson
TUCSON, AZ
ESTIMATE A CATCHMENT-TO-CANOPY CATCHMENT AREA RATIO FOR RAINWATER HARVESTING IN YOUR LOCATION
CALCULATIONS FOR RAINFALL AND PLANT WATER DEMAND
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
Average Monthly Rainfall (inches) | Average monthly rainfall, Tucson, AZ (inches) | 0.99 | 0.88 | 0.81 | 0.28 | 0.24 | 0.24 | 2.07 | 2.3 | 1.45 | 1.21 | 0.67 | 1.03 | 12.17
Determine a percent of monthly rainfall to remove to address localized variability, climate impacts, high and low rainfall events (inches) | Reduction in average rainfall (Inches), Tucson, AZ | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | No Sum
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
Effective water harvesting rainfall adjusted to remove a discretionary percent of rainfall | Effective monthly rainfall for water harvesting (inches), Tucson, AZ | 0.495 | 0.44 | 0.405 | 0.14 | 0.12 | 0.12 | 1.035 | 1.15 | 0.725 | 0.605 | 0.335 | 0.515 | 6.085
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
Average monthly reference ETo | Average monthly reference Eto (inches), Tucson, AZ | 3 | 3.72 | 6 | 8.04 | 9.96 | 10.56 | 9.36 | 7.92 | 7.2 | 5.76 | 3.6 | 2.64 | 77.76
Plant coefficient for lower water use plants for your area. If one is not available for your area, assume 0.25 to 0.30 to approximate it | Plant water use coefficient, Tucson, AZ | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | No Sum
Average monthly plant water demand | Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
|  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
Effective monthly rainwater for water harvesting purposes | Effective monthly rainfall for water harvesting (inches), Tucson, AZ | 0.495 | 0.44 | 0.405 | 0.14 | 0.12 | 0.12 | 1.035 | 1.15 | 0.725 | 0.605 | 0.335 | 0.515
Low water use plant demand | Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864
CALCULATIONS FOR A RANGE OF CATCHMENT-TO-CANOPY-AREA RATIOS
Catchment-to-canopy area ratio of 2:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176 |  |  | CATCHMENT RATIO | 2:1 | 3:1 | 4:1 | 5:1 | 6:1 | 7:1 | 8:1 | 9:1 | 10:1
| Catchment-to-canopy area ratio of 2:1 | 0.99 | 0.88 | 0.81 | 0.28 | 0.24 | 0.24 | 2.07 | 2.3 | 1.45 | 1.21 | 0.67 | 1.03 | 12.17 | TOTAL HARVESTED RAINFALL AT 2:1 RATIO | \ | NUMBER OF MONTHS THAT DEMAND IS MET AT DIFFERENT CATCHMENT RATIOS | 3 | 8 | 9 | 9 | 9 | 9 | 9 | 9 | 9
| Months exceeding plant water demand at 2:1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 3 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 2:1 RATIO |  | TOTAL HARVESTED RAINFALL | 12.17 | 18.255 | 24.34 | 30.425 | 36.51 | 42.595 | 48.68 | 54.765 | 60.85
Catchment-to-canopy area ratio of 3:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 3:1 | 1.485 | 1.32 | 1.215 | 0.42 | 0.36 | 0.36 | 3.105 | 3.45 | 2.175 | 1.815 | 1.005 | 1.545 | 18.255 | TOTAL HARVESTED RAINFALL AT 3:1 RATIO
| Months exceeding plant water demand at 3:1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 8 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 3:1 RATIO
Catchment-to-canopy area ratio of 4:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 4:1 | 1.98 | 1.76 | 1.62 | 0.56 | 0.48 | 0.48 | 4.14 | 4.6 | 2.9 | 2.42 | 1.34 | 2.06 | 24.34 | TOTAL HARVESTED RAINFALL AT 4:1 RATIO
| Months exceeding plant water demand at 4:1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 4:1 RATIO
Catchment-to-canopy area ratio of 5:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 5:1 | 2.475 | 2.2 | 2.025 | 0.7 | 0.6 | 0.6 | 5.175 | 5.75 | 3.625 | 3.025 | 1.675 | 2.575 | 30.425 | TOTAL HARVESTED RAINFALL AT 5:1 RATIO
| Months exceeding plant water demand at 5:1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 5:1 RATIO
Catchment-to-canopy area ratio of 6:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 6:1 | 2.97 | 2.64 | 2.43 | 0.84 | 0.72 | 0.72 | 6.21 | 6.9 | 4.35 | 3.63 | 2.01 | 3.09 | 36.51 | TOTAL HARVESTED RAINFALL AT 6:1 RATIO
| Months exceeding plant water demand at 6:1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 6:1 RATIO
Catchment-to-canopy area ratio of 7:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 7:1 | 3.465 | 3.08 | 2.835 | 0.98 | 0.84 | 0.84 | 7.245 | 8.05 | 5.075 | 4.235 | 2.345 | 3.605 | 42.595 | TOTAL HARVESTED RAINFALL AT 7:1 RATIO
| Months exceeding plant water demand at 7:1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 7:1 RATIO
Catchment-to-canopy area ratio of 8:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 8:1 | 3.96 | 3.52 | 3.24 | 1.12 | 0.96 | 0.96 | 8.28 | 9.2 | 5.8 | 4.84 | 2.68 | 4.12 | 48.68 | TOTAL HARVESTED RAINFALL AT 8:1 RATIO
| Months exceeding plant water demand at 8:1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 8:1 RATIO
Catchment-to-canopy area ratio of 9:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 9:1 | 4.455 | 3.96 | 3.645 | 1.26 | 1.08 | 1.08 | 9.315 | 10.35 | 6.525 | 5.445 | 3.015 | 4.635 | 54.765 | TOTAL HARVESTED RAINFALL AT 9:1 RATIO
| Months exceeding plant water demand at 9:1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 9:1 RATIO
Catchment-to-canopy area ratio of 10:1 |  | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | total
| Low water use plant demand (inches), Tucson, AZ | 0.78 | 0.9672 | 1.56 | 2.0904 | 2.5896 | 2.7456 | 2.4336 | 2.0592 | 1.872 | 1.4976 | 0.936 | 0.6864 | 20.2176
| Catchment-to-canopy area ratio of 10:1 | 4.95 | 4.4 | 4.05 | 1.4 | 1.2 | 1.2 | 10.35 | 11.5 | 7.25 | 6.05 | 3.35 | 5.15 | 60.85 | TOTAL HARVESTED RAINFALL AT 10:1 RATIO
| Months exceeding plant water demand at 10:1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | TOTAL MONTHS WHEN HARVESTED RAINFALL CAN EXCEED PLANT WATER DEMAND AT 10:1 RATIO

## PPT & ETo data for SW cities
Climate and plant water-use data for Southwest desert cities and population center in the
Desert Landscape Conservation Cooperative (DLCC)
AVONDALE-GOODYEAR, AZ. Elevation 974 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: Litchfield station, http://ag.arizona.edu/azmet/data/11etrain.htm | 0.97 | 1.09 | 1.06 | 0.3 | 0.09 | 0.03 | 0.78 | 0.87 | 0.67 | 0.63 | 0.41 | 0.65 | 7.55
AVERAGE MONTHLY ETo, (inches). SOURCE: Litchfield station, http://ag.arizona.edu/azmet/data/11etrain.htm | 2.77 | 3.72 | 5.98 | 8.3 | 10.81 | 11.53 | 10.95 | 9.47 | 7.73 | 5.93 | 3.66 | 2.55 | 83.4
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm
CASA GRANDE, AZ. Elevation 1398 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?azcasa | 0.74 | 0.82 | 0.77 | 0.3 | 0.12 | 0.16 | 1.01 | 1.52 | 0.78 | 0.52 | 0.7 | 0.95 | 8.39
AVERAGE MONTHLY ETo, (inches). SOURCE: Harvesting Rainwater for Landscape Use by Patricia H. Waterfall, Extension Agent, University of Arizona; Cooperative Extension, Low 4 Program; 2nd Edition, 2004, Revised 2006 | 2.31 | 3.16 | 5.17 | 7.24 | 9.55 | 10.28 | 10 | 8.75 | 7 | 5.18 | 3 | 2.14 | 73.78
YOU SHOULD SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of between 0.25 and 0.3 unless you can find more specific data for your area. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm
EL CENTRO, CA. Elevation -39 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?caecen+sca | 0.46 | 0.32 | 0.24 | 0.07 | 0.02 | 0 | 0.09 | 0.34 | 0.24 | 0.3 | 0.2 | 0.34 | 2.62
AVERAGE MONTHLY ETo, (inches). SOURCE: http://esce.ucr.edu/soilwater/etodata.html | 2.69 | 3.53 | 5.61 | 7.91 | 10.13 | 11.1 | 11.59 | 9.52 | 8.27 | 6.1 | 3.31 | 1.95 | 81.71
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/Landscaping%20and%20Water%20Conservation%20Guide-%20City%20of%20El%20Centro.pdf
EL PASO, TX. Elevation 3740 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.climate-zone.com/climate/united-states/texas/el-paso/ | 0.4 | 0.4 | 0.3 | 0.2 | 0.2 | 0.7 | 1.5 | 1.6 | 1.7 | 0.8 | 0.4 | 0.6 | 8.8
AVERAGE MONTHLY ETo, (Iinches). SOURCE: http://texaset.tamu.edu/pet.php | 2.74 | 3.53 | 6.07 | 8.19 | 9.83 | 11.12 | 9.19 | 8.94 | 7.69 | 5.89 | 3.58 | 2.49 | 79.26
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
http://aggie-horticulture.tamu.edu/archives/parsons/publications/westtexas/wtexas.html
http://aces.nmsu.edu/pes/lowwaterplants/index.html
FLAGSTAFF, AZ. Elevation 6910 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: Precip source: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?azflag | 2.02 | 2.07 | 2.22 | 1.3 | 0.68 | 0.49 | 2.49 | 2.88 | 1.94 | 1.6 | 1.73 | 1.94 | 21.36
AVERAGE MONTHLY ETo, (inches). SOURCE: Harvesting Rainwater for Landscape Use by Patricia H. Waterfall, Extension Agent, University of Arizona; Cooperative Extension, Low 4 Program; 2nd Edition, 2004, Revised 2006 | 1.61 | 1.74 | 2.85 | 4.24 | 5.79 | 7.09 | 6.46 | 5.63 | 4.64 | 3.21 | 2.13 | 1.74 | 47.13
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/City%20of%20Flagstaff%20Landscape%20Plant%20List.pdf
INDIO-CATHEDRAL CITY, CA. Elevation -13 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: wrcc.dri.edu/cgi-bin/cliMAIN.pl?caindi+sca | 0.57 | 0.46 | 0.31 | 0.09 | 0.04 | 0.01 | 0.12 | 0.26 | 0.32 | 0.2 | 0.28 | 0.46 | 3.12
AVERAGE MONTHLY ETo, (inches). SOURCE: http://esce.ucr.edu/soilwater/etodata.html | 2.93 | 3.97 | 6.22 | 8.27 | 10.5 | 11.93 | 12.33 | 10.01 | 8.86 | 6.35 | 3.78 | 2.44 | 87.59
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/Landscaping%20and%20Water%20Conservation%20Guide-%20City%20of%20El%20Centro.pdf
KINGMAN, AZ. Elevation 3333 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches), SOURCE: wrcc.dri.edu/cgi-bin/cliMAIN.pl?azking | 1.09 | 1.3 | 1.05 | 0.66 | 0.25 | 0.15 | 0.9 | 1.42 | 0.98 | 0.66 | 0.71 | 1.17 | 10.34
AVERAGE MONTHLY ETo, (inches). SOURCE: Harvesting Rainwater for Landscape Use by Patricia H. Waterfall, Extension Agent, University of Arizona; Cooperative Extension, Low 4 Program; 2nd Edition, 2004, Revised 2006 | 2.82 | 3.37 | 4.4 | 6.03 | 7.87 | 9.4 | 9.56 | 8.44 | 6.89 | 4.96 | 3.53 | 2.84 | 70.11
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
https://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/Low%20Water%20Tree%20and%20Plant%20Guide%20Mohave%20County%20Bullhead%20City%20and%20Lake%20Havasu%20City.pdf
LAKE HAVASU CITY, AZ. Elevation 735 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: .wrcc.dri.edu/cgi-bin/cliMAIN.pl?azlhac | 0.53 | 0.43 | 0.45 | 0.11 | 0.01 | 0.01 | 0.16 | 0.24 | 0.38 | 0.27 | 0.32 | 0.25 | 3.16
AVERAGE MONTHLY ETo, (inches). SOURCE: http://cals.arizona.edu/pubs/water/az1447.pdf | 3.3 | 3.84 | 5.99 | 7.94 | 9.91 | 10.09 | 9.39 | 8.34 | 6.88 | 5.49 | 3.92 | 3.65 | 78.74
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
https://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/Low%20Water%20Tree%20and%20Plant%20Guide%20Mohave%20County%20Bullhead%20City%20and%20Lake%20Havasu%20City.pdf
LANCASTER - PALMDALE, CA. Elevation 2359 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: for Lancaster: wrcc.dri.edu/cgi-bin/cliMAIN.pl?ca4747 | 1.01 | 0.7 | 0.6 | 0.39 | 0.1 | 0.06 | 0.06 | 0.06 | 0.15 | 0.22 | 0.87 | 0.88 | 5.1
AVERAGE MONTHLY ETo, in inches. SOURCE: http://esce.ucr.edu/soilwater/etodata.html | 2.14 | 2.98 | 4.64 | 5.91 | 8.54 | 9.69 | 10.98 | 9.76 | 7.32 | 4.64 | 2.78 | 1.71 | 71.09
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT INFORMATION IS AVAILABLE FROM:
City of Lancaster Landscape and Irrigation Design Standards: http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/City%20of%20Lancaster%20Landscape%20and%20Irrigation%20Design%20Standards.pdf
City of Palmdale Approved Plant and Tree List: http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/City%20of%20Palmdale%20Approved%20Plant%20and%20Tree%20List.PDF
LAS CRUCES, NM. Elevation 4000 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?ca4747 | 0.49 | 0.41 | 0.17 | 0.12 | 0.25 | 0.5 | 1.12 | 1.16 | 0.63 | 0.85 | 0.19 | 0.4 | 6.29
AVERAGE MONTHLY ETo, (inches). SOURCE: Sevostianovaa, et al. 2001. doi:10.2134/agronj2011.0163 | 2.7 | 2.83 | 4.91 | 7.52 | 8.81 | 8.58 | 8.49 | 6.76 | 5.42 | 4.32 | 2.27 | 0.16 | 62.77
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
http://aces.nmsu.edu/pes/lowwaterplants/index.html
LAS VEGAS - HENDERSON, NV. Elevation 2001 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.lvol.com/lvoleg/hist/weather.html | 0.48 | 0.47 | 0.42 | 0.21 | 0.28 | 0.12 | 0.35 | 0.49 | 0.28 | 0.21 | 0.43 | 0.38 | 4.12
AVERAGE MONTHLY ETo, in inches. SOURCE: http://www.nbmg.unr.edu/dox/r48.pdf | 1.57 | 2.5 | 5.26 | 8.43 | 12.38 | 14.8 | 17.02 | 13.9 | 11.17 | 6.43 | 2.65 | 1.43 | 97.54
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
LOW WATER USE PLANT INFORMATION:<>
http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/SNWA%20Water%20Smart%20Landscapes%20Program%20Plant%20List.pdf
http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/SNRPC_Regional%20Plant%20List.pdf
MARANA, AZ. Elevation 1991 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.weather.com/weather/wxclimatology/monthly/graph/USAZ0129 | 1.01 | 1.03 | 0.93 | 0.34 | 0.24 | 0.17 | 2.1 | 2.47 | 1.33 | 0.86 | 0.58 | 1.13 | 12.19
AVERAGE MONTHLY ETo, in inches. SOURCE: | 3.16 | 3.72 | 5.7 | 7.44 | 9.72 | 10.59 | 9.53 | 8.26 | 7.28 | 5.94 | 3.97 | 2.79 | 78.1
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm
PHOENIX, AZ. Elevation 1117 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: Phoenix Encanto station, http://ag.arizona.edu/azmet/data/15etrain.htm | 1.06 | 0.87 | 1.01 | 0.24 | 0.09 | 0.02 | 1.2 | 1.12 | 0.91 | 0.59 | 0.57 | 0.79 | 8.47
AVERAGE MONTHLY ETo, (inches). SOURCE: Phoenix Encanto station, http://ag.arizona.edu/azmet/data/15etrain.htm | 2.45 | 3.34 | 5.39 | 7.66 | 9.57 | 10.22 | 9.78 | 8.77 | 7.08 | 5.24 | 3.13 | 2.16 | 74.79
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm
PRESCOTT, AZ. Elevation 5368 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?azpres | 1.74 | 1.86 | 1.74 | 0.95 | 0.48 | 0.4 | 2.9 | 3.27 | 1.71 | 1.11 | 1.26 | 1.63 | 19.05
AVERAGE MONTHLY ETo, (inches). SOURCE: | 1.89 | 2.86 | 3.73 | 5.38 | 6.08 | 9.07 | 8.67 | 6.98 | 6.68 | 4.51 | 2.99 | 2.15 | 60.99
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm
SCOTTSDALE, AZ. Elevation 1257 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?azscot | 0.82 | 0.88 | 1.18 | 0.27 | 0.17 | 0.07 | 1.12 | 0.96 | 1.14 | 0.91 | 0.75 | 1.04 | 9.31
AVERAGE MONTHLY ETo, (inches). SOURCE: Harvesting Rainwater for Landscape Use by Patricia H. Waterfall, Extension Agent, University of Arizona; Cooperative Extension, Low 4 Program; 2nd Edition, 2004, Revised 2006 | 2.38 | 2.87 | 4.66 | 6.38 | 8.71 | 9.39 | 9.02 | 8.28 | 6.6 | 4.59 | 2.75 | 2.24 | 67.87
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm
SIERRA VISTA, AZ. Elevation 4633 | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?azsiev | 1 | 0.69 | 0.48 | 0.49 | 0.3 | 0.52 | 3.09 | 3.98 | 1.42 | 1.05 | 0.49 | 1.04 | 14.55
AVERAGE MONTHLY ETo, (inches). SOURCE: Harvesting Rainwater for Landscape Use by Patricia H. Waterfall, Extension Agent, University of Arizona; Cooperative Extension, Low 4 Program; 2nd Edition, 2004, Revised 2006 | 2.8 | 3.21 | 4.6 | 6.21 | 7.97 | 9.04 | 7.74 | 7.07 | 6.21 | 4.37 | 3.17 | 2.58 | 64.97
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
https://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/Sierra%20Vista%20Plant%20List.pdf
TUCSON, AZ. Elevation 2389 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (inches). SOURCE: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?azscot | 0.99 | 0.88 | 0.81 | 0.28 | 0.24 | 0.24 | 2.07 | 2.3 | 1.45 | 1.21 | 0.67 | 1.03 | 12.17
REFERENCE Eto (inches). SOURCE: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?azscot | 3 | 3.72 | 6 | 8.04 | 9.96 | 10.56 | 9.36 | 7.92 | 7.2 | 5.76 | 3.6 | 2.64 | 77.76
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | JAN: 0.26
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm
VICTORVILLE - HESPARIA, CA. Elevation 2726 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches), SOURCE: Precip source: http://www.wrcc.dri.edu/cgi-bin/cliMAIN.pl?cavict+sca | 1.02 | 1.04 | 0.83 | 0.34 | 0.15 | 0.05 | 0.16 | 0.2 | 0.28 | 0.32 | 0.5 | 0.72 | 5.61
AVERAGE MONTHLY ETo, (inches). SOURCE: http://esce.ucr.edu/soilwater/etodata.html | 2.32 | 3.09 | 4.88 | 6.73 | 9.28 | 10.04 | 11.23 | 9.76 | 7.44 | 5.13 | 2.83 | 1.83 | 74.56
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM:
http://wrrc.arizona.edu/sites/wrrc.arizona.edu/files/A%20Guide%20to%20High%20Desert%20Landscaping_compressed.pdf
YUMA, AZ. Elevation 138 ft | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | TOTAL
AVERAGE MONTHLY RAINFALL (Inches). SOURCE: http://www.climate-zone.com/climate/united-states/arizona/yuma/ | 0.3 | 0.2 | 0.2 | 0.1 | 0 | 0 | 0.3 | 0.6 | 0.3 | 0.3 | 0.2 | 0.5 | 3
AVERAGE MONTHLY ETo, (inches). SOURCE: Harvesting Rainwater for Landscape Use by Patricia H. Waterfall, Extension Agent, University of Arizona; Cooperative Extension, Low 4 Program; 2nd Edition, 2004, Revised 2006 | 3.27 | 3.79 | 5.67 | 7.24 | 9.16 | 10.21 | 10.5 | 9.67 | 7.92 | 5.87 | 3.8 | 3.1 | 80.2
SELECT A PLANT WATER USE COEFFICIENT from "Plant Water Use Coefficients" worksheet page of this Excel spreadsheet. To optimize plant canopy, we recommend focusing on native and low water use trees and using a Plant Water Use Coefficient of 0.3 to be conservative in estimating plant water needs. | bar: JAN
INFORMATION ON LOW WATER USE PLANT SPECIES IS AVAILABLE FROM: Arizona Department of Water Resources Low Water Use Plant List
http://www.azwater.gov/azdwr/WaterManagement/AMAs/LowWaterUsePlantList.htm

## Plant Water Use coefficients
Harvesting Rainwater for Landscape Use by Patricia H. Waterfall, Extension Agent, University of Arizona; Cooperative Extension, Low 4 Program; 2nd Edition, 2004, Revised 2006
Published by Cooperative Extension, College of Agriculture and Life Sciences, University of Arizona, Tucson, AZ 85721
pdf available at <http://www.flagstaff.az.gov/DocumentCenter/Home/View/38837>
TABLE 6. PLANT WATER USE FACTORS OR COEFFICIENTS
PLANT TYPE | PERCENT RANGE OF ETo NEEDED BY PLANTS
| high | low
low water use plants | 0.26 | 0.13
medium water use plants | 0.45 | 0.26
high water use plants | 0.64 | 0.45
Excerpts from Waterfall reference cited above, pages 21, 23, 24:
ETo is an estimate of the water lost when a plant transpires or “sweats” through its leaves plus the water evaporated from the soil surface. ETo provides a useful reference point when determining plant irrigation need. This value is always a percent of ETo and varies according to the plant species.
The Plant Water Use Factor (or coefficient) represents the percent of ETo that is needed by the plant (TABLE 6). This is determined by the type of plant — high, medium, or low water use.
These plant water use factors approximate what is needed to maintain plant health and acceptable appearance. Specific plant values (coefficients) for landscape plants are not available. Irrigation experience tells us where plants fall within each category.